Fire prevention

# Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

Powys County Council

North Powys Bulking Facility

Abermule Business Park

Abermule

Montgomery

SY15 6FB

Permit number

EPR/AB1234CD

North Powys Bulking Facility

Permit number EPR/AB1234CD

# Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.

This is a Tier 3 bespoke permit for a non-hazardous waste transfer station facility.

Permitted waste types include mixed municipal waste, bulky materials, textiles, food waste, Absorbent Hygiene Products (AHP’s), green waste, glass waste, non-hazardous batteries and Waste Electrical and Electronic Equipment (WEEE) and dry mixed recyclables (comprising of paper, cardboard, cans, and plastic).

The activity is for the bulking up and storage of non-hazardous waste material from kerbside collections.

The only treatment activity to be carried out on site is the bulking up of materials, prior to onward transfer for recovery and/or disposal. Materials received on site will be segregated before arrival and therefore will not require any manual sorting or separation.

The maximum quantity of waste accepted on site shall not exceed 22,500 tonnes of non-hazardous waste per year. A maximum of 425 tonnes is to be stored at any one time.

Permitted waste will be stored on an impermeable surface with sealed drainage, inside a building. Green waste and glass waste will be stored outside of the building on the external area of the site, on an impermeable surface with sealed drainage.

This permit does not allow any point source emission into surface waters or groundwater, except:

- clean, rainfall dependant drainage from areas of the site not used in connection with the storage and/or treatment of waste may be discharged directly to soakaway via an interceptor, and

- integral discharge(s) from the permitted activity may be discharged into a sewer, via an interceptor, subject to a consent issued by the local water company in accordance with the limits set out in Table S1.1.

There are to be no emissions to surface and/or groundwater from the buildings on site.

All emissions from the activity which are not controlled via actual emission limits, are controlled through the ‘emission of substances not controlled by emission limits condition’ and all relevant process requirements set out in Tables S1.1 and S1.2.

The burning of any wastes, either in the open, inside buildings or in any form of incinerator is not permitted.

The status log of the permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |
| --- |
| Description | Date | Comments |
| Application EPR/AB1234CD/A0001 | Duly made 09/06/22 | Application for household waste transfer station. |
| Additional information received in response to Schedule 5 Notice dated 12/01/23 | 15/02/23 | Further information comprising of: Schedule 5 response summary Revised fire prevention and mitigation plan Revised odour impact assessment (V1.3) Revised odour management plan (V1.2) Odour monitoring reports |
| Additional information received | 18/05/23 | Revised site condition report (dated May 2023) including: Appendix 1 Site condition report Dec 21 Appendix 2 Desktop study Appendix 3 Site clearance Appendix 4 Remediation strategy Appendix 5 Asbestos management plan Appendix 6 Verification report Appendix 7 Ground investigation report |
| Permit determined | DD/MM/YY | Permit issued to Powys County Council |

End of introductory note

Permit

The Environmental Permitting (England and Wales) Regulations 2016

Permit number

EPR/AB1234CD

The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016

Powys County Council (“the operator”),

of

Powys County Hall

Spa Road East

Llandrindod Wells

Powys

LD1 5LG

to operate waste operations at

North Powys Bulking Facility

Abermule Business Park

Abermule

Montgomery

SY15 6FB

to the extent authorised by and subject to the conditions of this permit.

| Name | Date |
| --- | --- |
| [name of authorised person] | [DD/MM/YYYY] |

Authorised on behalf of Natural Resources Wales

Conditions

# Management

## General management

### The operator shall manage and operate the activities:

#### in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints; and

#### using sufficient competent persons and resources.

### Records demonstrating compliance with condition 1.1.1 shall be maintained.

### Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

### The operator shall comply with the requirements of an approved competence scheme.

## Avoidance, recovery and disposal of wastes produced by the activities

### The operator shall take appropriate measures to ensure that:

### the waste hierarchy referred to in Article 4 of the Waste Framework Directive is applied to the generation of waste by the activities; and

### any waste generated by the activities is treated in accordance with the waste hierarchy referred to in Article 4 of the Waste Framework Directive; and

### where disposal is necessary, this is undertaken in a manner which minimises its impact on the environment.

### The operator shall review and record at least every four years whether changes to those measures should be made and take any further appropriate measures identified by a review.

# 2	Operations

2.1	Permitted activities

### 2.1.1	The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”).

## 2.2	The site

2.2.1	The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

## 2.3	Operating techniques

#### 2.3.1	(a) 	The activities shall, subject to the conditions of this permit, be operated using the

#### techniques and in the manner described in the documentation specified in 	schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.

#### (b)	If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

### 2.3.2	Waste shall only be accepted if:

### (a)	it is of a type and quantity listed in schedule 2 table(s) S2.1 [, S2.2 etc.]; and

### (b)	it conforms to the description in the documentation supplied by the producer and holder.

## 2.4	Technical requirements

WEEE treatment

### The storage (including temporary storage) and treatment of WEEE shall be carried out in accordance with the technical requirements of Annex VIII of the WEEE Directive.

## 2.5	Improvement programme

### 2.5.1 	The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

### 2.5.2	Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.

## 2.6	Pre-operational conditions

2.6.1	The activities shall not be brought into operation until the measures specified in schedule 1 table S1.4 have been completed.

# 3	Emissions and monitoring

## 3.1	Emissions of substances not controlled by emission limits

### 3.1.1	Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

## 3.2	Odour

#### 3.2.1	Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour.

## 3.3	Noise and vibration

#### 3.3.1	Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

## 3.4	Pests

3.4.1 	The activities shall not give rise to the presence of pests which are likely to cause pollution, hazard or annoyance outside the boundary of the site. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved pests management plan, have been taken to prevent or where that is not practicable, to minimise the presence of pests on the site.

## 3.5	Fire

3.5.1	The operator shall manage and operate the activities in accordance with a written fire prevention and mitigation plan using the current, relevant fire prevention and mitigation plan guidance.

3.5.2	The operator shall:

(a) 	if notified by Natural Resources Wales that the activities could cause a fire risk, submit to Natural Resources Wales a fire prevention and mitigation plan which identifies and minimises the risks of fire;

(b)	Operate the activity in accordance with the fire prevention and mitigation plan, from the date of submission, unless otherwise agreed in writing by Natural Resources Wales.

# 4	Information

## 4.1	Records

### All records required to be made by this permit shall:

### be legible;

### be made as soon as reasonably practicable;

### if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

### be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

- off-site environmental effects; and

- matters which affect the condition of the land and groundwater.

    - The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales.

## 4.2	Reporting

4.2.1	The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

### 4.2.2	Within one month of the end of each quarter, the operator shall submit to Natural Resources Wales using the form made available for the purpose, the information specified on the form relating to the site and the waste accepted and removed from it during the previous quarter.

## 4.3	Notifications

### 4.3.1	Natural 	Resources Wales shall be notified without delay following the detection of:

### any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

### the breach of a limit specified in the permit; or any significant adverse environmental effects.

### any significant adverse environmental effects.

### 4.3.2	Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

### 4.3.3	Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

### 4.3.4	Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

#### any change in the operator’s trading name, registered name or registered office address; and

#### (b)	any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

#### any change in the operator’s name or address; and

#### any steps taken with a view to the dissolution of the operator.

#### In any other case:

#### the death of any of the named operators (where the operator consists of more than one named individual);

#### any change in the operator’s name(s) or address(es); and

#### any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

### 4.3.5	Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

### Natural Resources Wales shall be notified at least 14 days before making the change; and

### the notification shall contain a description of the proposed change in operation.

## 4.4	Interpretation

### 4.4.1	In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

### 4.4.2	In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone.

Schedule 1 - Operations

| Table S1.1 activities |
| --- |
| Activity reference | Description of activities for waste operations | Limits of activities |
| A1 – Non-hazardous waste transfer station (household and commercial waste) | R13: Storage of waste pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced) D15: Storage pending any of the operations numbered D1 to D14 (excluding temporary storage pending collection on the site where it is produced). R3: Recycling/ reclamation of organic substances which are not used as solvents R4: Recycling/ reclamation of metals and metal compounds R5: Recycling/ reclamation of other inorganic compounds D14 Repackaging prior to submission to any of the operations numbered D1 to D13 | All non-hazardous waste must be stored and treated on an impermeable surface with sealed drainage. The following waste codes may be stored outside of a building, on impermeable surface with sealed drainage: 15 01 07 – glass packaging 20 01 02 – glass 20 02 01 – biodegradable waste All other wastes must be stored and treated inside a building. Treatment operations shall be limited to manual and/or mechanical: bulking up for onwards transport of permitted wastes for the purpose of disposal or recovery. No other treatment operations shall be carried out. Biodegradable kitchen and canteen waste (20 01 08) shall be stored within a designated storage bay. At the end of each working week, biodegradable kitchen and canteen waste (20 01 08) will be transferred into sealed skips (hinged lid with rubber seals). Absorbent Hygiene Products (20 01 99) shall be deposited within a dedicated storage bay and subsequently transferred into a sealed skip (hinged lid with rubber seals) at the end of each weekday. Batteries shall be stored in containers with an impermeable, acid resistant base and a lid to prevent ingress of surface water. Waste types as specified in Table S2.1. Table continued overleaf |

| Table S1.1 activities |
| --- |
| Activity reference | Description of activities for waste operations | Limits of activities |
|  | Discharge of integral site drainage (process effluent) from the emission points indicated on the plan reference ‘Drawing 003’ as incorporated in Table S1.2 of this permit. | Drainage consisting solely of run-off from the impermeable surface from external areas of the site used to store and/or treat waste, to foul sewer only, via an interceptor. Drainage consisting solely of clean, rainfall dependant drainage from areas of the site not used in connection with the storage and/or treatment of waste, to soakaway via an interceptor. There shall be no discharge from the buildings on site used to store and/or treat waste. No visible oil or grease shall be present in the discharge. |

| Table S1.2 Operating techniques |
| --- |
| Description | Parts | Date Received |
| Application | Waste acceptance procedure (EMS.S4.02), Version 1, dated December 2020 | 09/06/22 |
|  | Non-conformance procedure (EMS.S4.03), Version 1, dated December 2020 |  |
|  | Accident management plan (EMS.S6.01), Version 1, dated December 2020 |  |
|  | Spillage procedure (EMS.S6.02), Version 1, dated December 2020 |  |
|  | Maintenance procedure (EMS.S8.02), Version 1, dated December 2020 |  |
|  | Mud and Litter Management Plan (EMS.S5.06), Version 1, dated September 2020 |  |
|  | Complaint’s procedure (EMS.S2.06), Version 1, dated December 2020 |  |
|  | Training & qualifications procedure (EMS.S3.02), Version 1, dated December 2020 |  |
|  | Operating Techniques Document V.04 (June 2022) including the following sections: 2.1.3 Site security 2.2.2 Storage of waste 2.2.5 Loss of containment 2.2.6 Security and vandalism 2.2.7 Flooding 3.4.2 Load inspection and waste control 3.5 Waste storage |  |
|  | Dust and Emissions Management Plan v1.1 (June 2022) all |  |
|  | Noise Impact Assessment and Noise Management Plan Final V1 (June 2022) all |  |
|  | Pests Management Plan V1 (June 2022) all |  |
|  | Drawing 003 – Site drainage, dated May 2022 [Site plan showing emission point to foul sewer and soakaway system] |  |
| Response to Schedule 5 Notice dated 12/01/23 | Fire Prevention and Mitigation Plan Final V1 (February 2023) all | 15/02/23 |
|  | Odour Impact Assessment V1.3 (February 2023) all |  |
|  | Odour Management Plan V1.2 (February 2023) all |  |
| Technical Guidance Document: ‘How to comply with your environmental permit’ | All relevant sections | N/A |
| Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non-Hazardous Waste | All relevant sections | N/A |
| Fire prevention and mitigation plan guidance - Waste Management | All relevant sections | N/A |

| Table S1.3 Improvement programme requirements |
| --- |
| Reference | Requirement | Date |
| IPC1 | Following successful commissioning and establishment of routine steady operation, the Operator shall carry out odour monitoring of on-site odour sources in-line with BS EN 13725 to confirm the odour concentrations obtained at other similar sites which were used in the submitted Odour Impact Assessment V1.3 (February 2023) reflect odour emissions from the proposed operation. Through this monitoring the Operator should confirm that the source measurements are representative of odour emissions during the warmer months of the year. Upon completion of the work, a written report shall be submitted to Natural Resources Wales for approval. | Within 12 months of the date of permit being issued. |
| IPC2 | Following successful commissioning and establishment of routine steady operation, the Operator shall undertake a noise impact assessment following BS4142:2014 and guidance set out in Noise and Vibration Management: Environmental Permits. The assessment should include an objective assessment of narrow band (FFT) measurements to identify any tonal elements from on-site sources and off-site at sensitive receptors. The assessment should include consideration of the Welsh Government’s Noise and soundscape action plan 2018-2023. Upon completion of the work, a written report shall be submitted to Natural Resources Wales for approval. | Within 6 months of the date of permit being issued. |

| Table S1.4 Pre-operational measures |
| --- |
| Reference | Pre-operational measures |
| PO1 | Installation of proposed weather station as included in Odour management plan (V1.2), for inspection and written approval by an authorised officer of Natural Resources Wales. |
| PO2 | Construction of the noise fence as specified in Noise Impact Assessment and Noise Management Plan Final V1 (June 2022), and in accordance with Appendix 3 Proposed Fencing Plan – Bryn-y- Maes (Drawing 2395/0300.003) and Appendix 4 Proposed fencing details – Bryn-y- Maes (Drawing 2395/0300.004), for inspection and written approval by an authorised officer of Natural Resources Wales. |

# Schedule 2 - Waste types, raw materials and fuels

| Table S2.1 Permitted waste types and quantities for waste transfer station |
| --- |
| Maximum quantity | The maximum quantity for waste to be accepted on site shall not exceed 22,500 tonnes per year. |
| Exclusions | Notwithstanding the waste types set out in this table, wastes having any of the following characteristics shall not be accepted: consisting solely or mainly of dusts, powders or loose fibres sludges odorous or odour producing hazardous waste clinical wastes liquid wastes |
| Waste code | Description |
| 15 | WASTE PACKAGING, ABSORBENTS, WIPING CLOTHS, FILTER MATERIALS AND PROTECTIVE CLOTHING NOT OTHERWISE SPECIFIED |
| 15 01 | packaging (including separately collected municipal packaging waste) |
| 15 01 01 | paper and cardboard packaging |
| 15 01 02 | plastic packaging |
| 15 01 04 | metallic packaging |
| 15 01 05 | composite packaging |
| 15 01 06 | mixed packaging |
| 15 01 07 | glass packaging |
| 20 | MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL, INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS |
| 20 01 | separately collected fractions (except 15 01) |
| 20 01 01 | paper and cardboard |
| 20 01 02 | glass |
| 20 01 08 | biodegradable kitchen and canteen waste |
| 20 01 11 | textiles |
| 20 01 34 | batteries and accumulators other than those mentioned in 20 01 33 |
| 20 01 36 | discarded electrical and electronic equipment other than those mentioned in 20 01 21, 20 01 23 and 20 01 35 |
| 20 01 39 | plastics |
| 20 01 40 | metals |
| 20 01 99 | other fractions not otherwise specified (consisting of nappies and absorbent hygiene products (AHPs) only) |
| 20 02 | garden and park wastes (including cemetery waste) |
| 20 02 01 | biodegradable waste |
| 20 03 | other municipal wastes |
| 20 03 01 | mixed municipal waste |
| 20 03 03 | street-cleaning residues (consisting of litter bin waste only) |
| 20 03 07 | bulky waste |

# Schedule 3 – Emissions and monitoring

#### There are no emission limits or associated monitoring requirements.

# Schedule 4 - Reporting

#### There is no reporting under this schedule.

# Schedule 5 - Notification

### These pages outline the information that the operator must provide.

### Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

## Part A

| Permit Number |  |
| --- | --- |
| Name of operator |  |
| Location of Facility |  |
| Time and date of the detection |  |

| (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution |
| --- |
| To be notified within 24 hours of detection |
| Date and time of the event |  |
| Reference or description of the location of the event |  |
| Description of where any release into the environment took place |  |
| Substances(s) potentially released |  |
| Best estimate of the quantity or rate of release of substances |  |
| Measures taken, or intended to be taken, to stop any emission |  |
| Description of the failure or accident. |  |

| (b) Notification requirements for the breach of a limit |
| --- |
| To be notified within 24 hours of detection unless otherwise specified below |
| Emission point reference/ source |  |
| Parameter(s) |  |
| Limit |  |
| Measured value and uncertainty |  |
| Date and time of monitoring |  |
| Measures taken, or intended to be taken, to stop the emission |  |

| Time periods for notification following detection of a breach of a limit |
| --- |
| Parameter | Notification period |

| (c) Notification requirements for the detection of any significant adverse environmental effect |
| --- |
| To be notified within 24 hours of detection |
| Description of where the effect on the environment was detected |  |
| Substances(s) detected |  |
| Concentrations of substances detected |  |
| Date of monitoring/sampling |  |

## Part B - to be submitted as soon as practicable

| Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission |  |
| The dates of any unauthorised emissions from the facility in the preceding 24 months. |  |

| Name* |  |
| --- | --- |
| Post |  |
| Signature |  |
| Date |  |

### * authorised to sign on behalf of the operator

## Schedule 6 - Interpretation

“accident” means an accident that may result in pollution.

### “Annex I” means Annex I to Directive 2008/98/EC of the European Parliament and of the Council on waste.

### “Annex II” means Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“building” means a construction that has the objective of providing sheltering cover and minimising emissions of noise, particulate matter, odour and litter.

“D” means a disposal operation provided for in Annex I to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“emissions to land” includes emissions to groundwater.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“hazardous waste” has the meaning given in the Hazardous Waste (Wales) Regulations 2005 (as amended)

“impermeable surface” means a surface or pavement constructed and maintained to a standard sufficient to prevent the transmission of liquids beyond the surface.

“Pests” means Birds, Vermin and Insects.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“R” means a recovery operation provided for in Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“waste code” means the six digit code referable to a type of waste in accordance with the list of wastes established by Commission Decision 2000/532/EC as amended from time to time (the ‘List of Wastes Decision’) and in relation to hazardous waste, includes the asterisk.

“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.

“WEEE” means waste electrical and electronic equipment.

“WEEE Directive” means Directive 2012/19/EU of the European Parliament and of the Council of 4th July 2012 on waste electrical and electronic equipment (WEEE).

“year” means calendar year ending 31 December.

Schedule 7 - Site plan

END OF PERMIT