## Low risk quick Hydrogen Permit
Generic risk assessment for Low Impact Hydrogen quick permit
Installation: |  |  |  | Hydrogen production from electrolysis
Location: |  |  |  | Applies to all potential locations
Risk assessment carried out by: |  |  |  | Natural Resources Wales
Date: |  |  |  | 2022-08-08
The scope of the permit and associated rules is defined by the following risk criteria:
| Parameter 1 | Hydrogen production using Polymer electrolyte membrane, Anion exchange membrane and alkaline electrolyser
| Parameter 2 | Only Hydrogen and Oxygen will be emitted to air
| Parameter 3 | Abstraction will be by current permission or be less than 20 metres cubed per day
| Parameter 4 | All waste water will be discharged to sewer
| Parameter 5 | Waste production is limited to 1 tonne of non hazardous or 10 kg of hazardous waste a day
| Parameter 6 | Hydrogen storage is limited to two tonnes at any one time
| Parameter 7 | Electricity source will be national grid or renewable sources, no fossil fuels will be combusted on site.
| Abbreviations: | LIHQ- Low impact hydrogen quick permit
H - Hydrogen
O2 - Oxygen
SR (emissions of substances not controlled by emission limits) - emissions of substances .... shall not cause pollution…., with appropriate measures:
RO- Reverse Osmosis
Data and information |  |  |  |  | Judgement |  |  | Action (by permitting)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population. | Releases of Hydrogen and Oxygen | Harm to human health - explosion | Build up of Hydrogen and ignition source | Low | Low | Low | There is potential for Hydrogen to leak and accumulate within the housing | Activities shall be managed and operated in accordance with a management system , point source emissions to air limited to Hydrogen and oxygen. Limits on the amount of water abstracted and storage of Hydrogen reduces the risk as these parameters control the size of the operation. The activities shall be carried out in CE certified equipment and be subject to robust permit conditions. | Very Low
Local human population. | Noise and vibration | Nuisance, loss of amenity, loss of sleep. | Noise through the air and vibration through the ground. | Low | Low | Low | All equipment is required to be CE certified and built to modern standards. | Activities must be operated in accordance with the low impact criteria in the application. Permit conditions ensure operations are carried out to prevent noise pollution. | Very Low
Surface water | Reverse osmosis waste water | Contamination of water courses | Waste water disposed of to surface water | Low | Low | Low | The concentration of contaminants in RO is higher than the water source due to the way RO works. | Release of RO waste water is limited to sewer, tankering or soakaway to prevent localised contamination of surface water. | Very Low
Groundwater and soil | Release of electrolyte to ground. | Contamination of soil and groundwater | Incident or accident causing loss of containment | Low | Medium | Medium | For alkaline electrolysis it will be necessary to store some quantities of electrolyte on site. | We require all potentially polluting substances to be stored in accordance with CIRA 736 which will ensure loss of containment does not result in contamination of groundwater. A permit condition requiring groundwater monitoring and soil monitoring is included, this can be risked assessed out by the operator using CIRA 736. | Very Low
Protected nature conservation sites - SACs,SPAs, Ramsar sites and SSSIs. | Physical damage | Placing the operation withing the boundary of a protected site resulting in physical damage to the features. | Direct placement within a sensitive site. | Low | Low | Low | The only way we can envisage damage to sensitive site features is through physical damage due to the low impact of this type of installation. | There is adequate protection provided through the planning process to prevent physical damage to sensitive sites. | Very Low
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 2 | 2 | 4 | Low
[6 empty] | 2 | 2 | 4 | Low
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | #REF! | #REF! | #REF! | #REF!
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B28: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C28: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D28: Harm may arise when a specific hazard is realised.
Note on E28: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F28: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G28: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H28: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J28: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.